Calidad de los procesos de Esterilización en una Institución hospitalaria de segundo nivel de atención en el municipio del Banco Magdalena 2019

Prado Barbosa, Claudia patricia
ríos trigos, helda rosa;    Baena rodriguez, Mayra Alejandra

RESUMEN
El presente proyecto tuvo como objetivo general verificar la calidad de los procesos de esterilización realizados en una institución de segundo nivel de atención hospitalaria en el Municipio del Banco Magdalena 2019. Logrado por medio de los objetivos específicos describir los procesos y procedimientos de esterilización realizados en una institución hospitalaria., seguido de determinar eficiencia de los procesos de esterilización realizados en una institución hospitalaria de segundo nivel de atención según el manual de buenas prácticas mediante una lista de verificación, y evaluar validez del control de los procesos de esterilización empleados en la central de esterilización en una institución de segundo nivel de atención hospitalaria, mediante los indicadores químicos internos y externos. Teóricamente el estudio se sustentó en los autoresAlbarran (2008), Ayala (2018), Castro (2008), Contreras (2014), Jonathan, K. (2015), Moreno, G.
(2015), Ochoa, J. (2011), Pinto, a. (2009), entre otros. Metodológicamente el proyecto sefundamentó en un estudio descriptivo, prospectivo de corte trasversal, con una población de 10 unidades de estudio (hospitalitos) del sector magdalena. Se pudo concluir que los procesos de esterilización presentan notables deficiencias, tanto en espacio físico de distribución adecuado para tal fin, como en controles de registro, y ausencia de conocimiento y capacitación de las normas y
el manual al personal que allí labora, esta situación además se ve perjudicada por la falta de transporte interno para el material estéril y medidas de control en la aireación de los elementos quirúrgicos, el único punto a favor de las unidades de estudio es que proporcionan todo el equipo de seguridad personal a los profesionales en instrumentación quirúrgica, sin embargo, esto sin contemplar la ejecución eficaz de los demás elementos pierde veracidad, ya que el proceso de
esterilización o es completo o presenta deficiencias.

PALABRASCLAVES:
Esterilización, procedimientos, procesos, calidad de esterilización, salud, desinfección

ABSTRACT
The main objective of this project was to verify the quality of the sterilization processes carried
out in a second level institution of hospital care in the Municipality of Banco Magdalena 2019.Achieved through the specific objectives to describe the sterilization processes and procedures performed in a hospital institution., followed by determining the efficiency of the sterilization processes carried out in a hospital institution of second level of care according to the manual of good practices by means of a checklist, and evaluating validity of the control of the sterilization
processes used in the central sterilization in a second level institution of hospital care, through internal and external chemical indicators. Theoretically, the study was based on the authors Albarran (2008), Ayala (2018), Castro (2008), Contreras (2014), Jonathan, K. (2015), Moreno, G.
(2015), Ochoa, J. (2011) ), Pinto, a. (2009), among others. Methodologically the project was basedon a descriptive, prospective cross-sectional study, with a population of 10 study units (hospitalitos) from the Magdalena sector. It was concluded that the sterilization processes have notable deficiencies, both in physical space of distribution suitable for this purpose, as in registry
controls, and lack of knowledge and training of the standards and the manual to the personnel that work there, this situation also is impaired by the lack of internal transport for the sterile material and control measures in the aeration of the surgical elements, the only point in favor of the study
units is that they provide all the personal safety equipment to the professionals in surgical instrumentation , however, this without considering the effective execution of the other elements loses accuracy, since the sterilization process is either complete or has deficiencies.
KEYWORDS:
sterilization, procedures, processes, quality of sterilization, health, disinfection